1. Acceptance reports COSUN RS-Box

End customer

|  |  |
| --- | --- |
| Name |  |
| Road |  |
| Postcode, City |  |
| E-Mail |  |
| Acquired by contract / from: |  |

System installer / electrical engineer

|  |  |
| --- | --- |
| Company |  |
| Road |  |
| Postcode, City |  |
| Phone / Mobile |  |
| E-Mail |  |
| Acquired by purchase agreement / AB from: |  |

Manufacturer / Guarantor

|  |  |
| --- | --- |
| Company | Cosun New Energy Technology Co.,Ltd. |
| Road |  |
| ZIP / City |  |
| Phone |  |
| E-Mail |  |

Power storage system

|  |  |
| --- | --- |
| Model (and number) of the inverter |  |
| Serial NO. inverter |  |
| Application  (ON / OFF-Grid) |  |
| Configuration  (Input / Three-phase) |  |
| RS-Box type and number |  |

|  |  |
| --- | --- |
| Model RS-Box 1  (RS-Box type) |  |
| Battery module 1 Serial no. |  |
| Battery module 2 Serial no. |  |
| Battery Module 3 Serial no .. |  |
| Battery module 4 Serial no. |  |

Note: For batteries, please check the following page Enter

Comments

|  |  |
| --- | --- |
|  |  |
|  |  |
|  |  |

Note: fill out this page only if necessary and enclose

Installation Guide and User's Guide, see the Appendix or on:

2、Rücksendeschein COSUN RS-Box

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Activity (i.O. = ok; n.i.O. = not ok) | i.O. | n.i.O. | note |
| 1 | Acceptance report completed |  |  |  |
| 2 | Installation according to installation manual (in Annex) successfully conducted |  |  |  |
| 3 | The battery modules show no error or alert message |  |  |  |
| 4 | If battery module is off, the voltage to be measured at the bottom is marked Poland 44.8 to 57.6 V |  |  |  |
| 5 | Control of the SOC level of the battery at the battery inverter |  |  |  |
| 6 | Customer instruct on warning and safety (see manual) |  |  |  |

Note:

Please forward the signed original or a copy of the return bill including the acceptance report (4 pages) within two weeks after installation via email to the following address:

Cosun New Energy Technology Co., Ltd. (http://www.cosun-energy.com/)

Tel: 86-717-6398925  
Fax: 86-717-6398925

Add: Electric Building, China Three Gorges University, No. 8, Da Xue Road, Xiling District, Yichang, Hubei, China

Email: sales@cosun-energy.com

The submission of the signed return slip, and the acceptance certificate is mandatory for the warranty and quality of service assignment!

Note: The warranty period begins with the signing of this document. However at 4 weeks of receiving the current storage system by the system installer / electrician. The decrease in the power storage system is done on this day.